## Berkeley
Fan Coil Unit Running Cost calculator | [5 empty] | Unit kWh cost
Flat No. | Building | FCU Location | Room Served | No. of heating element | kW value of element | Elements Total kW | Cost per hour
21 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
22 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
22 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
23 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
24 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
24 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
25 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
25 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
31 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
32 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
32 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
33 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
34 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
34 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
35 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
35 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
42 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
42 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
43 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
43 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
44 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
44 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
51 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
51 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
53 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
53 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
54 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
54 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
62 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
62 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
62 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
63 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
63 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
64 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
64 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
71 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
71 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
72 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
72 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
72 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
73 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
73 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
74 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
74 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
81 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
81 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
82 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
82 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
82 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
83 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
83 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
84 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
84 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
91 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
91 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
92 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
92 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
92 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
93 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
93 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
94 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
94 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
101 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
101 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
102 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
102 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
102 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
103 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
103 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
104 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
104 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
111 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
111 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
112 | Berkeley Tower | Lounge? | Lounge | 1 | 2 | 2 | 0
112 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
112 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
113 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
113 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
114 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
114 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
121 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
121 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
121 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
121 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
122 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
122 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
122 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
123 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
123 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
131 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
131 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
131 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
131 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
132 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
132 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
132 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
133 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
133 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
141 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
141 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
141 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
141 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
142 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
142 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
142 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
143 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
143 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
151 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
151 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
151 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
151 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
152 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
152 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
152 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
153 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
153 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
161 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
161 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
161 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
161 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
162 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
162 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
162 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
163 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
163 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
171 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
171 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
171 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
171 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
172 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
172 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
172 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
173 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
173 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
181 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
181 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
181 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
181 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
182 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
182 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
182 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
183 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
183 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
191 | Berkeley Tower | Kitchen | Lounge | 1 | 2 | 2 | 0
191 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
191 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
191 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
192 | Berkeley Tower | Lobby | Master bedroom | 1 | 2 | 2 | 0
192 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
192 | Berkeley Tower | Lobby | Bedroom(s) | 2 | 1.5 | 3 | 0
193 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
193 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
201 | Berkeley Tower | Lobby | Lounge | 1 | 2 | 2 | 0
201 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
201 | Berkeley Tower | Kitchen | Bedroom | 2 | 1.5 | 3 | 0
202 | Berkeley Tower | Lobby | Bedroom | 1 | 2 | 2 | 0
202 | Berkeley Tower | Lobby | Bedroom | 2 | 1.5 | 3 | 0
202 | Berkeley Tower | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
202 | Berkeley Tower | Kitchen | Lounge | 2 | 1.5 | 3 | 0
202 | Berkeley Tower | Lobby | Lounge | 2 | 1.5 | 3 | 0
Notes:
1. The spreadsheet details proposed location at time of system design. Final (actual) location of FCUs may differ. Eg, no FCUs located in lounge, and three/four bedroom flats may have FCU located in master bedroom (and not the lobby/hallway).
2. Hourly running cost may be lower depending on Baxi/controller temperature setting. Eg, if set to c.21C the heating elements will switch off and ambient air will be circulated. The elements will switch back on when tempertaure falls below 21C .

## Hanover
Fan Coil Unit Running Cost calculator | [5 empty] | Unit kWh cost
Flat No. | Building | FCU Location | Room Served | No. of heating element | kW value of element | Elements Total kW | Cost per hour
G1 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
G1 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G2 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
G2 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G3 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G3 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
G4 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
G4 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
11 | Hanover House | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
12 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
12 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
13 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
13 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
14 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
14 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
15 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
16 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
16 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
17 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
17 | Hanover House | Lobby | Bedroom(s) | 1 | 2 | 2 | 0
17 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
21 | Hanover House | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
22 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
22 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
23 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
23 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
24 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
24 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
25 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
26 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
26 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
27 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
27 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
27 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
27 | Hanover House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
28 | Hanover House | Kitchen | Bedroom(s) | 1 | 2 | 2 | 0
28 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
28 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
31 | Hanover House | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
32 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
32 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
33 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
33 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
34 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
34 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
35 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
36 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
36 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
37 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
37 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
37 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
37 | Hanover House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
38 | Hanover House | Kitchen | Bedroom(s) | 1 | 2 | 2 | 0
38 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
38 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
41 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
42 | Hanover House | Kitchen | Lounge | 1 | 2 | 2 | 0
42 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
43 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
43 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
44 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
45 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
45 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
46 | Hanover House | Lobby | Master bedroom | 1 | 2 | 2 | 0
46 | Hanover House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
46 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
51 | Hanover House | Bed lob | Master bedroom | 2 | 1.5 | 3 | 0
51 | Hanover House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
51 | Hanover House | Kitchen | Dining Room | 2 | 1.5 | 3 | 0
51 | Hanover House | Lobby | Lounge | 2 | 1.5 | 3 | 0
52 | Hanover House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
52 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
53 | Hanover House | M Bed | Master bedroom | 1 | 2 | 2 | 0
53 | Hanover House | Kitchen | Dining Room | 1 | 2 | 2 | 0
53 | Hanover House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
53 | Hanover House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
Notes:
1. The spreadsheet details proposed location at time of system design. Final (actual) location of FCUs may differ. Eg, no FCUs located in lounge, and three/four bedroom flats may have FCU located in master bedroom (and not the lobby/hallway).
2. Hourly running cost may be lower depending on Baxi/controller temperature setting. Eg, if set to c.21C the heating elements will switch off and ambient air will be circulated. The elements will switch back on when tempertaure falls below 21C .

## Eaton
Fan Coil Unit Running Cost calculator | [5 empty] | Unit kWh cost
Flat No. | Building | FCU Location | Room Served | No. of heating element | kW value of element | Elements Total kW | Cost per hour
G1 | Eaton House | TBA | Lounge | 1 | 2 | 2 | 0
G1 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G1 | Eaton House | TBA | Bedroom | 2 | 1.5 | 3 | 0
G2 | Eaton House | TBA | Lounge | 1 | 2 | 2 | 0
G2 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G2 | Eaton House | TBA | Bedroom | 2 | 1.5 | 3 | 0
11 | Eaton House | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
11 | Eaton House | Lobby | Lounge | 2 | 1.5 | 3 | 0
12 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
12 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
12 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
13 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
13 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
14 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
15 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
21 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
21 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
22 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
22 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
22 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
23 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
23 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
24 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
25 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
31 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
31 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
32 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
32 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
32 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
33 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
33 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
34 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
35 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
41 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
42 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
42 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
42 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
43 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
43 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
44 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
45 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
51 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
51 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
52 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
53 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
53 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
54 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
55 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
51A | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52A | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
53A | Eaton House | Kitchen | Lounge | 2kW |  | #VALUE! | #VALUE!
53A | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
54A | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
55A | Eaton House | Kitchen | Lounge | 2kW |  | #VALUE! | #VALUE!
55A | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
62 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
62 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
62 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
63 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
63 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
64 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
65 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
71 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
71 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
72 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
72 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
72 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
73 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
73 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
74 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
75 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
81 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
81 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
82 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
82 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
82 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
83 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
83 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
84 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
85 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
91 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
91 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
92 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
92 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
92 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
93 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
93 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
94 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
95 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
101 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
101 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
102 | Eaton House | Lobby | Master bedroom | 1 | 2 | 2 | 0
102 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
102 | Eaton House | Lobby | Bedroom | 2 | 1.5 | 3 | 0
103 | Eaton House | Kitchen | Lounge | 1 | 2 | 2 | 0
103 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
104 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
105 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
111 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
111 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
112 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
112 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
113 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
114 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
114 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
115 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
115 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
116 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
121 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
121 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
122 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
122 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
123 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
124 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
124 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
125 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
125 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
126 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
131 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
131 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
132 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
132 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
133 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
134 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
134 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
135 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
135 | Eaton House | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
136 | Eaton House | Kitchen | Lounge | 2 | 1.5 | 3 | 0
Notes:
1. The spreadsheet details proposed location at time of system design. Final (actual) location of FCUs may differ. Eg, no FCUs located in lounge, and three/four bedroom flats may have FCU located in master bedroom (and not the lobby/hallway).
2. Hourly running cost may be lower depending on Baxi/controller temperature setting. Eg, if set to c.21C the heating elements will switch off and ambient air will be circulated. The elements will switch back on when tempertaure falls below 21C .

## Belgrave
Fan Coil Unit Running Cost calculator | [5 empty] | Unit kWh cost
Flat No. | Building | FCU Location | Room Served | No. of heating element | kW value of element | Elements Total kW | Cost per hour
G1 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
G1 | Belgrave Court | Lobby | Master bedroom | 1 | 2 | 2 | 0
G1 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
G1 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
G1A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
G1A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G2 | Belgrave Court | Lobby | Master bedroom | 1 | 2 | 2 | 0
G2 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
G2 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
G2A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
G2A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
G3 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
G3 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
G3A | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
G4A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
G4A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
G5A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
G5A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
11 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
11 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
11 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
11A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
11A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
12 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
12 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
12 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
12A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
12A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
13 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
13 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
13A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
13A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
14 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
14 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
14A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
15A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
15A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
16A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
16A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
17A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
17A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
21 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
21 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
21 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
21A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
21A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
22 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
22 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
22 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
22A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
22A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
23 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
23 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
23A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
23A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
24 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
24 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
24A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
25A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
25A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
26A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
26A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
27A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
27A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
31 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
31 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
31 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
31A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
31A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
32 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
32 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
32 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
32A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
32A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
33 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
33 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
33A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
33A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
34 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
34 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
34A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
35A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
35A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
36A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
36A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
37A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
37A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
41 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
41 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
41A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
41A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
42 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
42 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
42 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
42A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
42A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
43 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
43 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
43A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
43A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
44 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
44 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
44A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
45A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
45A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
46A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
46A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
47A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
47A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
51 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
51 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
51 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
51A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
51A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
52 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
52 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
52 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
52A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
52A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
53 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
53 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
53A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
53A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
54 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
54 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
54A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
55A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
55A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
56A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
56A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
57A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
57A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
61 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
61 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
61A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
61A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
62 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
62 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
62 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
62A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
62A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
63 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
63 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
63A | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
63A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
64 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
64 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
64A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
65A | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
65A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
66A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
66A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
67A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
67A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
71 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
71 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
71 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
71 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
71 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
71A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
71A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
72 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
72 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
72 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
72 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
72 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
72A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
72A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
73 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
73 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
73A | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
73A | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
74 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
74 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
81 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
81 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
81 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
81 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
81 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
82 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
82 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
82 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
82 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
82 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
83 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
83 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
84 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
84 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
91 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
91 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
91 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
91 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
91 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
92 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
92 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
92 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
92 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
92 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
93 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
93 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
94 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
94 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
101 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
101 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
101 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
101 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
101 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
102 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
102 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
102 | Belgrave Court | Lobby | Bedroom | 1 | 2 | 2 | 0
102 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
102 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
103 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
103 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
104 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
104 | Belgrave Court | Kitchen | Lounge | 2 | 1.5 | 3 | 0
111 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
111 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
111 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
111 | Belgrave Court | Lobby | Master bedroom | 2 | 1.5 | 3 | 0
112 | Belgrave Court | Kitchen | Lounge | 1 | 2 | 2 | 0
112 | Belgrave Court | Lobby | Bedroom | 2 | 1.5 | 3 | 0
112 | Belgrave Court | Lobby | Lounge | 2 | 1.5 | 3 | 0
112 | Belgrave Court | Kitchen | Master bedroom | 2 | 1.5 | 3 | 0
Notes:
1. The spreadsheet details proposed location at time of system design. Final (actual) location of FCUs may differ. Eg, no FCUs located in lounge, and three/four bedroom flats may have FCU located in master bedroom (and not the lobby/hallway).
2. Hourly running cost may be lower depending on Baxi/controller temperature setting. Eg, if set to c.21C the heating elements will switch off and ambient air will be circulated. The elements will switch back on when tempertaure falls below 21C .